## users
53 | cseb | cseb@gmail.com | cseb | 1 | 2017-04-05 21:14 | 2017-04-05 21:14 | 0
54 | mseb | mseb@gmail.com | mseb | 1 | 2017-04-05 21:14 | 2017-04-05 21:14 | 0
55 | mpseb | mpseb@gmail.com | mpseb | 1 | 2017-04-05 21:14 | 2017-04-05 21:14 | 0
56 | geb | geb@gmail.com | geb | 1 | 2017-04-05 21:14 | 2017-04-05 21:14 | 0
57 | dd | dd@gmail.com | dd | 1 | 2017-04-05 21:14 | 2017-04-05 21:14 | 0
58 | dnh | dnh@gmail.com | dnh | 1 | 2017-04-05 21:14 | 2017-04-05 21:14 | 0
59 | goa | goa@gmail.com | goa | 1 | 2017-04-05 21:14 | 2017-04-05 21:14 | 0
60 | esil | esil@gmail.com | esil | 1 | 2017-04-05 21:14 | 2017-04-05 21:14 | 0
49 | jhabua | jhabua@as | jhabua | 1 | 2017-04-04 21:10 | 2017-04-04 21:10 | 0
50 | balco | balco@as | balco | 1 | 2017-04-04 21:10 | 2017-04-04 21:10 | 0
51 | essarmahan | essarmahan@as | essarmahan | 1 | 2017-04-04 21:10 | 2017-04-04 21:10 | 0
52 | vandana | vandana@as | vandana | 1 | 2017-04-04 21:10 | 2017-04-04 21:10 | 0
38 | nspcl | nspcl@as | nspcl | 1 | 2017-04-04 21:07 | 2017-04-04 21:07 | 0
39 | lanco | lanco@as | lanco | 1 | 2017-04-04 21:07 | 2017-04-04 21:07 | 0
40 | jpl | jpl@as | jpl | 1 | 2017-04-04 21:07 | 2017-04-04 21:07 | 0
41 | ksk | ksk@as | ksk | 1 | 2017-04-04 21:07 | 2017-04-04 21:07 | 0
42 | rkm | rkm@as | rkm | 1 | 2017-04-04 21:07 | 2017-04-04 21:07 | 0
43 | trn | trn@as | trn | 1 | 2017-04-04 21:07 | 2017-04-04 21:07 | 0
44 | mbpower | mbpower@as | mbpower | 1 | 2017-04-04 21:07 | 2017-04-04 21:07 | 0
45 | sks | sks@as | sks | 1 | 2017-04-04 21:07 | 2017-04-04 21:07 | 0
46 | jpltamnar | jpltamnar@as | jpltamnar | 1 | 2017-04-04 21:07 | 2017-04-04 21:07 | 0
47 | dgen | dgen@as | dgen | 1 | 2017-04-04 21:07 | 2017-04-04 21:07 | 0
48 | rgppl | rgppl@as | rgppl | 1 | 2017-04-04 21:07 | 2017-04-04 21:07 | 0
34 | kaps | kaps@as | kaps | 1 | 2017-04-04 15:08 | 2017-04-04 15:08 | 0
35 | taps | taps@as | taps | 1 | 2017-04-04 15:08 | 2017-04-04 15:08 | 0

## CSEB
hydroGen_CSEB | 53 | number | Chattisgarh Hydro Generation MU | ('hydroGen_CSEB', 53, 'number', 'Chattisgarh Hydro Generation MU'),
solarGen_CSEB | 53 | number | Chattisgarh Solar Generation MU | ('solarGen_CSEB', 53, 'number', 'Chattisgarh Solar Generation MU'),
drawal_CSEB | 53 | number | Chattisgarh Drawal MU | ('drawal_CSEB', 53, 'number', 'Chattisgarh Drawal MU'),
availability_CSEB | 53 | number | Chattisgarh Availability MU | ('availability_CSEB', 53, 'number', 'Chattisgarh Availability MU'),
maxDemTime_CSEB | 53 | number | Chattisgarh Max Demand Time in Hrs | ('maxDemTime_CSEB', 53, 'number', 'Chattisgarh Max Demand Time in Hrs'),
maxDem_CSEB | 53 | number | Chattisgarh Max Demand | ('maxDem_CSEB', 53, 'number', 'Chattisgarh Max Demand'),
dem3hrs_CSEB | 53 | number | Chattisgarh Demand at 3 Hrs | ('dem3hrs_CSEB', 53, 'number', 'Chattisgarh Demand at 3 Hrs'),
dem19hrs_CSEB | 53 | number | Chattisgarh Demand at 19 Hrs | ('dem19hrs_CSEB', 53, 'number', 'Chattisgarh Demand at 19 Hrs'),
dem20hrs_CSEB | 53 | number | Chattisgarh Demand at 20 Hrs | ('dem20hrs_CSEB', 53, 'number', 'Chattisgarh Demand at 20 Hrs'),
ls3hrs_CSEB | 53 | number | Chattisgarh Load Shedding at 3 Hrs | ('ls3hrs_CSEB', 53, 'number', 'Chattisgarh Load Shedding at 3 Hrs'),
ls19hrs_CSEB | 53 | number | Chattisgarh Load Shedding at 19 Hrs | ('ls19hrs_CSEB', 53, 'number', 'Chattisgarh Load Shedding at 19 Hrs'),
ls20hrs_CSEB | 53 | number | Chattisgarh Load Shedding at 20 Hrs | ('ls20hrs_CSEB', 53, 'number', 'Chattisgarh Load Shedding at 20 Hrs'),
lsMaxDem_CSEB | 53 | number | Chattisgarh Load Shedding at Max Demand | ('lsMaxDem_CSEB', 53, 'number', 'Chattisgarh Load Shedding at Max Demand'),
shortFallMUs_CSEB | 53 | number | Chattisgarh Shortfall MU | ('shortFallMUs_CSEB', 53, 'number', 'Chattisgarh Shortfall MU'),

## DD
drawal_DD | 57 | number | DD Drawal MU | ('drawal_DD', 57, 'number', 'DD Drawal MU'),
maxDemTime_DD | 57 | number | DD Max Demand Time in Hrs | ('maxDemTime_DD', 57, 'number', 'DD Max Demand Time in Hrs'),
maxDem_DD | 57 | number | DD Max Demand | ('maxDem_DD', 57, 'number', 'DD Max Demand'),
dem3hrs_DD | 57 | number | DD Demand at 3 Hrs | ('dem3hrs_DD', 57, 'number', 'DD Demand at 3 Hrs'),
dem19hrs_DD | 57 | number | DD Demand at 19 Hrs | ('dem19hrs_DD', 57, 'number', 'DD Demand at 19 Hrs'),
dem20hrs_DD | 57 | number | DD Demand at 20 Hrs | ('dem20hrs_DD', 57, 'number', 'DD Demand at 20 Hrs'),

## DNH
drawal_DNH | 58 | number | DNH Drawal MU | ('drawal_DNH', 58, 'number', 'DNH Drawal MU'),
maxDemTime_DNH | 58 | number | DNH Max Demand Time in Hrs | ('maxDemTime_DNH', 58, 'number', 'DNH Max Demand Time in Hrs'),
maxDem_DNH | 58 | number | DNH Max Demand | ('maxDem_DNH', 58, 'number', 'DNH Max Demand'),
dem3hrs_DNH | 58 | number | DNH Demand at 3 Hrs | ('dem3hrs_DNH', 58, 'number', 'DNH Demand at 3 Hrs'),
dem19hrs_DNH | 58 | number | DNH Demand at 19 Hrs | ('dem19hrs_DNH', 58, 'number', 'DNH Demand at 19 Hrs'),
dem20hrs_DNH | 58 | number | DNH Demand at 20 Hrs | ('dem20hrs_DNH', 58, 'number', 'DNH Demand at 20 Hrs'),

## ESIL
drawal_ESIL | 60 | number | ESIL Drawal MU | ('drawal_ESIL', 60, 'number', 'ESIL Drawal MU'),
maxDemTime_ESIL | 60 | number | ESIL Max Demand Time in Hrs | ('maxDemTime_ESIL', 60, 'number', 'ESIL Max Demand Time in Hrs'),
maxDem_ESIL | 60 | number | ESIL Max Demand | ('maxDem_ESIL', 60, 'number', 'ESIL Max Demand'),
dem3hrs_ESIL | 60 | number | ESIL Demand at 3 Hrs | ('dem3hrs_ESIL', 60, 'number', 'ESIL Demand at 3 Hrs'),
dem19hrs_ESIL | 60 | number | ESIL Demand at 19 Hrs | ('dem19hrs_ESIL', 60, 'number', 'ESIL Demand at 19 Hrs'),
dem20hrs_ESIL | 60 | number | ESIL Demand at 20 Hrs | ('dem20hrs_ESIL', 60, 'number', 'ESIL Demand at 20 Hrs'),

## GOA
stateGen_GOA | 59 | number | GOA State Generation MU | ('stateGen_GOA', 59, 'number', 'GOA State Generation MU'),
drawal_GOA | 59 | number | GOA Drawal MU | ('drawal_GOA', 59, 'number', 'GOA Drawal MU'),
shortFallMUs_GOA | 59 | number | GOA Shortfall MU | ('shortFallMUs_GOA', 59, 'number', 'GOA Shortfall MU'),
maxDemTime_GOA | 59 | number | GOA Max Demand Time in Hrs | ('maxDemTime_GOA', 59, 'number', 'GOA Max Demand Time in Hrs'),
maxDem_GOA | 59 | number | GOA Max Demand | ('maxDem_GOA', 59, 'number', 'GOA Max Demand'),
dem3hrs_GOA | 59 | number | GOA Demand at 3 Hrs | ('dem3hrs_GOA', 59, 'number', 'GOA Demand at 3 Hrs'),
dem19hrs_GOA | 59 | number | GOA Demand at 19 Hrs | ('dem19hrs_GOA', 59, 'number', 'GOA Demand at 19 Hrs'),
dem20hrs_GOA | 59 | number | GOA Demand at 20 Hrs | ('dem20hrs_GOA', 59, 'number', 'GOA Demand at 20 Hrs'),
ls3hrs_GOA | 59 | number | GOA Load Shedding at 3 Hrs | ('ls3hrs_GOA', 59, 'number', 'GOA Load Shedding at 3 Hrs'),
ls19hrs_GOA | 59 | number | GOA Load Shedding at 19 Hrs | ('ls19hrs_GOA', 59, 'number', 'GOA Load Shedding at 19 Hrs'),
ls20hrs_GOA | 59 | number | GOA Load Shedding at 20 Hrs | ('ls20hrs_GOA', 59, 'number', 'GOA Load Shedding at 20 Hrs'),
lsMaxDem_GOA | 59 | number | GOA Load Shedding at Max Demand | ('lsMaxDem_GOA', 59, 'number', 'GOA Load Shedding at Max Demand'),

## GUJ
hydroGen_GEB | 56 | number | Gujarat Hydro Generation MU | ('hydroGen_GEB', 56, 'number', 'Gujarat Hydro Generation MU'),
windGen_GEB | 56 | number | Gujarat Wind Generation MU | ('windGen_GEB', 56, 'number', 'Gujarat Wind Generation MU'),
solarGen_GEB | 56 | number | Gujarat Solar Generation MU | ('solarGen_GEB', 56, 'number', 'Gujarat Solar Generation MU'),
availability_GEB | 56 | number | Gujarat Availability MU | ('availability_GEB', 56, 'number', 'Gujarat Availability MU'),
requirement_GEB | 56 | number | Gujarat Requirement MU | ('requirement_GEB', 56, 'number', 'Gujarat Requirement MU'),
drawal_GEB | 56 | number | Gujarat Drawal MU | ('drawal_GEB', 56, 'number', 'Gujarat Drawal MU'),
maxDemTime_GEB | 56 | number | Gujarat Max Demand Time in Hrs | ('maxDemTime_GEB', 56, 'number', 'Gujarat Max Demand Time in Hrs'),
maxDem_GEB | 56 | number | Gujarat Max Demand | ('maxDem_GEB', 56, 'number', 'Gujarat Max Demand'),
dem3hrs_GEB | 56 | number | Gujarat Demand at 3 Hrs | ('dem3hrs_GEB', 56, 'number', 'Gujarat Demand at 3 Hrs'),
dem19hrs_GEB | 56 | number | Gujarat Demand at 19 Hrs | ('dem19hrs_GEB', 56, 'number', 'Gujarat Demand at 19 Hrs'),
dem20hrs_GEB | 56 | number | Gujarat Demand at 20 Hrs | ('dem20hrs_GEB', 56, 'number', 'Gujarat Demand at 20 Hrs'),

## MP
hydroGen_MP | 55 | number | MP Hydro Generation MU | ('hydroGen_MP', 55, 'number', 'MP Hydro Generation MU'),
solarGen_MP | 55 | number | MP Solar Generation MU | ('solarGen_MP', 55, 'number', 'MP Solar Generation MU'),
windGen_MP | 55 | number | MP Wind Generation MU | ('windGen_MP', 55, 'number', 'MP Wind Generation MU'),
drawal_MP | 55 | number | MP Drawal MU | ('drawal_MP', 55, 'number', 'MP Drawal MU'),
availability_MP | 55 | number | MP Availability MU | ('availability_MP', 55, 'number', 'MP Availability MU'),
shortFallMUs_MP | 55 | number | MP Shortfall MU | ('shortFallMUs_MP', 55, 'number', 'MP Shortfall MU'),
maxDemTime_MP | 55 | number | MP Max Demand Time in Hrs | ('maxDemTime_MP', 55, 'number', 'MP Max Demand Time in Hrs'),
maxDem_MP | 55 | number | MP Max Demand | ('maxDem_MP', 55, 'number', 'MP Max Demand'),
dem3hrs_MP | 55 | number | MP Demand at 3 Hrs | ('dem3hrs_MP', 55, 'number', 'MP Demand at 3 Hrs'),
dem19hrs_MP | 55 | number | MP Demand at 19 Hrs | ('dem19hrs_MP', 55, 'number', 'MP Demand at 19 Hrs'),
dem20hrs_MP | 55 | number | MP Demand at 20 Hrs | ('dem20hrs_MP', 55, 'number', 'MP Demand at 20 Hrs'),
ls3hrs_MP | 55 | number | MP Load Shedding at 3 Hrs | ('ls3hrs_MP', 55, 'number', 'MP Load Shedding at 3 Hrs'),
ls19hrs_MP | 55 | number | MP Load Shedding at 19 Hrs | ('ls19hrs_MP', 55, 'number', 'MP Load Shedding at 19 Hrs'),
ls20hrs_MP | 55 | number | MP Load Shedding at 20 Hrs | ('ls20hrs_MP', 55, 'number', 'MP Load Shedding at 20 Hrs'),
lsMaxDem_MP | 55 | number | MP Load Shedding at Max Demand | ('lsMaxDem_MP', 55, 'number', 'MP Load Shedding at Max Demand'),

## MSEB
hydroGen_MSEB | 54 | number | Maharashtra Hydro Generation MU | ('hydroGen_MSEB', 54, 'number', 'Maharashtra Hydro Generation MU'),
solarGen_MSEB | 54 | number | Maharashtra Solar Generation MU | ('solarGen_MSEB', 54, 'number', 'Maharashtra Solar Generation MU'),
windGen_MSEB | 54 | number | Maharashtra Wind Generation MU | ('windGen_MSEB', 54, 'number', 'Maharashtra Wind Generation MU'),
drawal_MSEB | 54 | number | Maharashtra Drawal MU | ('drawal_MSEB', 54, 'number', 'Maharashtra Drawal MU'),
availability_MSEB | 54 | number | Maharashtra Availability MU | ('availability_MSEB', 54, 'number', 'Maharashtra Availability MU'),
shortFallMUs_MSEB | 54 | number | Maharashtra Shortfall MU | ('shortFallMUs_MSEB', 54, 'number', 'Maharashtra Shortfall MU'),
maxDemTime_MSEB | 54 | number | Maharashtra Max Demand Time in Hrs | ('maxDemTime_MSEB', 54, 'number', 'Maharashtra Max Demand Time in Hrs'),
maxDem_MSEB | 54 | number | Maharashtra Max Demand | ('maxDem_MSEB', 54, 'number', 'Maharashtra Max Demand'),
dem3hrs_MSEB | 54 | number | Maharashtra Demand at 3 Hrs | ('dem3hrs_MSEB', 54, 'number', 'Maharashtra Demand at 3 Hrs'),
dem19hrs_MSEB | 54 | number | Maharashtra Demand at 19 Hrs | ('dem19hrs_MSEB', 54, 'number', 'Maharashtra Demand at 19 Hrs'),
dem20hrs_MSEB | 54 | number | Maharashtra Demand at 20 Hrs | ('dem20hrs_MSEB', 54, 'number', 'Maharashtra Demand at 20 Hrs'),
ls3hrs_MSEB | 54 | number | Maharashtra Load Shedding at 3 Hrs | ('ls3hrs_MSEB', 54, 'number', 'Maharashtra Load Shedding at 3 Hrs'),
ls19hrs_MSEB | 54 | number | Maharashtra Load Shedding at 19 Hrs | ('ls19hrs_MSEB', 54, 'number', 'Maharashtra Load Shedding at 19 Hrs'),
ls20hrs_MSEB | 54 | number | Maharashtra Load Shedding at 20 Hrs | ('ls20hrs_MSEB', 54, 'number', 'Maharashtra Load Shedding at 20 Hrs'),
lsMaxDem_MSEB | 54 | number | Maharashtra Load Shedding at Max Demand | ('lsMaxDem_MSEB', 54, 'number', 'Maharashtra Load Shedding at Max Demand'),

## ALLKEYS
hydroGen_CSEB | 53 | number | Chattisgarh Hydro Generation MU | ('hydroGen_CSEB', 53, 'number', 'Chattisgarh Hydro Generation MU'), | fillFormField('hydroGen_CSEB', hydroGen_CSEB);
solarGen_CSEB | 53 | number | Chattisgarh Solar Generation MU | ('solarGen_CSEB', 53, 'number', 'Chattisgarh Solar Generation MU'), | fillFormField('solarGen_CSEB', solarGen_CSEB);
drawal_CSEB | 53 | number | Chattisgarh Drawal MU | ('drawal_CSEB', 53, 'number', 'Chattisgarh Drawal MU'), | fillFormField('drawal_CSEB', drawal_CSEB);
availability_CSEB | 53 | number | Chattisgarh Availability MU | ('availability_CSEB', 53, 'number', 'Chattisgarh Availability MU'), | fillFormField('availability_CSEB', availability_CSEB);
maxDemTime_CSEB | 53 | number | Chattisgarh Max Demand Time in Hrs | ('maxDemTime_CSEB', 53, 'number', 'Chattisgarh Max Demand Time in Hrs'), | fillFormField('maxDemTime_CSEB', maxDemTime_CSEB);
maxDem_CSEB | 53 | number | Chattisgarh Max Demand in MW | ('maxDem_CSEB', 53, 'number', 'Chattisgarh Max Demand in MW'), | fillFormField('maxDem_CSEB', maxDem_CSEB);
dem3hrs_CSEB | 53 | number | Chattisgarh Demand at 3 Hrs in MW | ('dem3hrs_CSEB', 53, 'number', 'Chattisgarh Demand at 3 Hrs in MW'), | fillFormField('dem3hrs_CSEB', dem3hrs_CSEB);
dem19hrs_CSEB | 53 | number | Chattisgarh Demand at 19 Hrs in MW | ('dem19hrs_CSEB', 53, 'number', 'Chattisgarh Demand at 19 Hrs in MW'), | fillFormField('dem19hrs_CSEB', dem19hrs_CSEB);
dem20hrs_CSEB | 53 | number | Chattisgarh Demand at 20 Hrs in MW | ('dem20hrs_CSEB', 53, 'number', 'Chattisgarh Demand at 20 Hrs in MW'), | fillFormField('dem20hrs_CSEB', dem20hrs_CSEB);
ls3hrs_CSEB | 53 | number | Chattisgarh Load Shedding at 3 Hrs in MW | ('ls3hrs_CSEB', 53, 'number', 'Chattisgarh Load Shedding at 3 Hrs in MW'), | fillFormField('ls3hrs_CSEB', ls3hrs_CSEB);
ls19hrs_CSEB | 53 | number | Chattisgarh Load Shedding at 19 Hrs in MW | ('ls19hrs_CSEB', 53, 'number', 'Chattisgarh Load Shedding at 19 Hrs in MW'), | fillFormField('ls19hrs_CSEB', ls19hrs_CSEB);
ls20hrs_CSEB | 53 | number | Chattisgarh Load Shedding at 20 Hrs in MW | ('ls20hrs_CSEB', 53, 'number', 'Chattisgarh Load Shedding at 20 Hrs in MW'), | fillFormField('ls20hrs_CSEB', ls20hrs_CSEB);
lsMaxDem_CSEB | 53 | number | Chattisgarh Load Shedding at Max Demand in MW | ('lsMaxDem_CSEB', 53, 'number', 'Chattisgarh Load Shedding at Max Demand in MW'), | fillFormField('lsMaxDem_CSEB', lsMaxDem_CSEB);
shortFallMUs_CSEB | 53 | number | Chattisgarh Shortfall MU | ('shortFallMUs_CSEB', 53, 'number', 'Chattisgarh Shortfall MU'), | fillFormField('shortFallMUs_CSEB', shortFallMUs_CSEB);
drawal_DD | 57 | number | DD Drawal MU | ('drawal_DD', 57, 'number', 'DD Drawal MU'), | fillFormField('drawal_DD', drawal_DD);
maxDemTime_DD | 57 | number | DD Max Demand Time in Hrs | ('maxDemTime_DD', 57, 'number', 'DD Max Demand Time in Hrs'), | fillFormField('maxDemTime_DD', maxDemTime_DD);
maxDem_DD | 57 | number | DD Max Demand in MW | ('maxDem_DD', 57, 'number', 'DD Max Demand in MW'), | fillFormField('maxDem_DD', maxDem_DD);
dem3hrs_DD | 57 | number | DD Demand at 3 Hrs in MW | ('dem3hrs_DD', 57, 'number', 'DD Demand at 3 Hrs in MW'), | fillFormField('dem3hrs_DD', dem3hrs_DD);
dem19hrs_DD | 57 | number | DD Demand at 19 Hrs in MW | ('dem19hrs_DD', 57, 'number', 'DD Demand at 19 Hrs in MW'), | fillFormField('dem19hrs_DD', dem19hrs_DD);
dem20hrs_DD | 57 | number | DD Demand at 20 Hrs in MW | ('dem20hrs_DD', 57, 'number', 'DD Demand at 20 Hrs in MW'), | fillFormField('dem20hrs_DD', dem20hrs_DD);
drawal_DNH | 58 | number | DNH Drawal MU | ('drawal_DNH', 58, 'number', 'DNH Drawal MU'), | fillFormField('drawal_DNH', drawal_DNH);
maxDemTime_DNH | 58 | number | DNH Max Demand Time in Hrs | ('maxDemTime_DNH', 58, 'number', 'DNH Max Demand Time in Hrs'), | fillFormField('maxDemTime_DNH', maxDemTime_DNH);
maxDem_DNH | 58 | number | DNH Max Demand in MW | ('maxDem_DNH', 58, 'number', 'DNH Max Demand in MW'), | fillFormField('maxDem_DNH', maxDem_DNH);
dem3hrs_DNH | 58 | number | DNH Demand at 3 Hrs in MW | ('dem3hrs_DNH', 58, 'number', 'DNH Demand at 3 Hrs in MW'), | fillFormField('dem3hrs_DNH', dem3hrs_DNH);
dem19hrs_DNH | 58 | number | DNH Demand at 19 Hrs in MW | ('dem19hrs_DNH', 58, 'number', 'DNH Demand at 19 Hrs in MW'), | fillFormField('dem19hrs_DNH', dem19hrs_DNH);
dem20hrs_DNH | 58 | number | DNH Demand at 20 Hrs in MW | ('dem20hrs_DNH', 58, 'number', 'DNH Demand at 20 Hrs in MW'), | fillFormField('dem20hrs_DNH', dem20hrs_DNH);
drawal_ESIL | 60 | number | ESIL Drawal MU | ('drawal_ESIL', 60, 'number', 'ESIL Drawal MU'), | fillFormField('drawal_ESIL', drawal_ESIL);
maxDemTime_ESIL | 60 | number | ESIL Max Demand Time in Hrs | ('maxDemTime_ESIL', 60, 'number', 'ESIL Max Demand Time in Hrs'), | fillFormField('maxDemTime_ESIL', maxDemTime_ESIL);
maxDem_ESIL | 60 | number | ESIL Max Demand in MW | ('maxDem_ESIL', 60, 'number', 'ESIL Max Demand in MW'), | fillFormField('maxDem_ESIL', maxDem_ESIL);
dem3hrs_ESIL | 60 | number | ESIL Demand at 3 Hrs in MW | ('dem3hrs_ESIL', 60, 'number', 'ESIL Demand at 3 Hrs in MW'), | fillFormField('dem3hrs_ESIL', dem3hrs_ESIL);
dem19hrs_ESIL | 60 | number | ESIL Demand at 19 Hrs in MW | ('dem19hrs_ESIL', 60, 'number', 'ESIL Demand at 19 Hrs in MW'), | fillFormField('dem19hrs_ESIL', dem19hrs_ESIL);
dem20hrs_ESIL | 60 | number | ESIL Demand at 20 Hrs in MW | ('dem20hrs_ESIL', 60, 'number', 'ESIL Demand at 20 Hrs in MW'), | fillFormField('dem20hrs_ESIL', dem20hrs_ESIL);
stateGen_GOA | 59 | number | GOA State Generation MU | ('stateGen_GOA', 59, 'number', 'GOA State Generation MU'), | fillFormField('stateGen_GOA', stateGen_GOA);
drawal_GOA | 59 | number | GOA Drawal MU | ('drawal_GOA', 59, 'number', 'GOA Drawal MU'), | fillFormField('drawal_GOA', drawal_GOA);
shortFallMUs_GOA | 59 | number | GOA Shortfall MU | ('shortFallMUs_GOA', 59, 'number', 'GOA Shortfall MU'), | fillFormField('shortFallMUs_GOA', shortFallMUs_GOA);
maxDemTime_GOA | 59 | number | GOA Max Demand Time in Hrs | ('maxDemTime_GOA', 59, 'number', 'GOA Max Demand Time in Hrs'), | fillFormField('maxDemTime_GOA', maxDemTime_GOA);
maxDem_GOA | 59 | number | GOA Max Demand in MW | ('maxDem_GOA', 59, 'number', 'GOA Max Demand in MW'), | fillFormField('maxDem_GOA', maxDem_GOA);
dem3hrs_GOA | 59 | number | GOA Demand at 3 Hrs in MW | ('dem3hrs_GOA', 59, 'number', 'GOA Demand at 3 Hrs in MW'), | fillFormField('dem3hrs_GOA', dem3hrs_GOA);
dem19hrs_GOA | 59 | number | GOA Demand at 19 Hrs in MW | ('dem19hrs_GOA', 59, 'number', 'GOA Demand at 19 Hrs in MW'), | fillFormField('dem19hrs_GOA', dem19hrs_GOA);
dem20hrs_GOA | 59 | number | GOA Demand at 20 Hrs in MW | ('dem20hrs_GOA', 59, 'number', 'GOA Demand at 20 Hrs in MW'), | fillFormField('dem20hrs_GOA', dem20hrs_GOA);
ls3hrs_GOA | 59 | number | GOA Load Shedding at 3 Hrs in MW | ('ls3hrs_GOA', 59, 'number', 'GOA Load Shedding at 3 Hrs in MW'), | fillFormField('ls3hrs_GOA', ls3hrs_GOA);
ls19hrs_GOA | 59 | number | GOA Load Shedding at 19 Hrs in MW | ('ls19hrs_GOA', 59, 'number', 'GOA Load Shedding at 19 Hrs in MW'), | fillFormField('ls19hrs_GOA', ls19hrs_GOA);
ls20hrs_GOA | 59 | number | GOA Load Shedding at 20 Hrs in MW | ('ls20hrs_GOA', 59, 'number', 'GOA Load Shedding at 20 Hrs in MW'), | fillFormField('ls20hrs_GOA', ls20hrs_GOA);
lsMaxDem_GOA | 59 | number | GOA Load Shedding at Max Demand in MW | ('lsMaxDem_GOA', 59, 'number', 'GOA Load Shedding at Max Demand in MW'), | fillFormField('lsMaxDem_GOA', lsMaxDem_GOA);
hydroGen_GEB | 56 | number | Gujarat Hydro Generation MU | ('hydroGen_GEB', 56, 'number', 'Gujarat Hydro Generation MU'), | fillFormField('hydroGen_GEB', hydroGen_GEB);
windGen_GEB | 56 | number | Gujarat Wind Generation MU | ('windGen_GEB', 56, 'number', 'Gujarat Wind Generation MU'), | fillFormField('windGen_GEB', windGen_GEB);
solarGen_GEB | 56 | number | Gujarat Solar Generation MU | ('solarGen_GEB', 56, 'number', 'Gujarat Solar Generation MU'), | fillFormField('solarGen_GEB', solarGen_GEB);
availability_GEB | 56 | number | Gujarat Availability MU | ('availability_GEB', 56, 'number', 'Gujarat Availability MU'), | fillFormField('availability_GEB', availability_GEB);
requirement_GEB | 56 | number | Gujarat Requirement MU | ('requirement_GEB', 56, 'number', 'Gujarat Requirement MU'), | fillFormField('requirement_GEB', requirement_GEB);
drawal_GEB | 56 | number | Gujarat Drawal MU | ('drawal_GEB', 56, 'number', 'Gujarat Drawal MU'), | fillFormField('drawal_GEB', drawal_GEB);
maxDemTime_GEB | 56 | number | Gujarat Max Demand Time in Hrs | ('maxDemTime_GEB', 56, 'number', 'Gujarat Max Demand Time in Hrs'), | fillFormField('maxDemTime_GEB', maxDemTime_GEB);
maxDem_GEB | 56 | number | Gujarat Max Demand in MW | ('maxDem_GEB', 56, 'number', 'Gujarat Max Demand in MW'), | fillFormField('maxDem_GEB', maxDem_GEB);
dem3hrs_GEB | 56 | number | Gujarat Demand at 3 Hrs in MW | ('dem3hrs_GEB', 56, 'number', 'Gujarat Demand at 3 Hrs in MW'), | fillFormField('dem3hrs_GEB', dem3hrs_GEB);
dem19hrs_GEB | 56 | number | Gujarat Demand at 19 Hrs in MW | ('dem19hrs_GEB', 56, 'number', 'Gujarat Demand at 19 Hrs in MW'), | fillFormField('dem19hrs_GEB', dem19hrs_GEB);
dem20hrs_GEB | 56 | number | Gujarat Demand at 20 Hrs in MW | ('dem20hrs_GEB', 56, 'number', 'Gujarat Demand at 20 Hrs in MW'), | fillFormField('dem20hrs_GEB', dem20hrs_GEB);
hydroGen_MP | 55 | number | MP Hydro Generation MU | ('hydroGen_MP', 55, 'number', 'MP Hydro Generation MU'), | fillFormField('hydroGen_MP', hydroGen_MP);
hydroGen1_MP | 55 | number | MP Hydro Generation MU | ('hydroGen1_MP', 55, 'number', 'MP Hydro Generation MU'), | fillFormField('hydroGen1_MP', hydroGen1_MP);
hydroGen2_MP | 55 | number | MP Hydro Generation MU | ('hydroGen2_MP', 55, 'number', 'MP Hydro Generation MU'), | fillFormField('hydroGen2_MP', hydroGen2_MP);
solarGen_MP | 55 | number | MP Solar Generation MU | ('solarGen_MP', 55, 'number', 'MP Solar Generation MU'), | fillFormField('solarGen_MP', solarGen_MP);
windGen_MP | 55 | number | MP Wind Generation MU | ('windGen_MP', 55, 'number', 'MP Wind Generation MU'), | fillFormField('windGen_MP', windGen_MP);
drawal_MP | 55 | number | MP Drawal MU | ('drawal_MP', 55, 'number', 'MP Drawal MU'), | fillFormField('drawal_MP', drawal_MP);
availability_MP | 55 | number | MP Availability MU | ('availability_MP', 55, 'number', 'MP Availability MU'), | fillFormField('availability_MP', availability_MP);
shortFallMUs_MP | 55 | number | MP Shortfall MU | ('shortFallMUs_MP', 55, 'number', 'MP Shortfall MU'), | fillFormField('shortFallMUs_MP', shortFallMUs_MP);
maxDemTime_MP | 55 | number | MP Max Demand Time in Hrs | ('maxDemTime_MP', 55, 'number', 'MP Max Demand Time in Hrs'), | fillFormField('maxDemTime_MP', maxDemTime_MP);
maxDem_MP | 55 | number | MP Max Demand in MW | ('maxDem_MP', 55, 'number', 'MP Max Demand in MW'), | fillFormField('maxDem_MP', maxDem_MP);
dem3hrs_MP | 55 | number | MP Demand at 3 Hrs in MW | ('dem3hrs_MP', 55, 'number', 'MP Demand at 3 Hrs in MW'), | fillFormField('dem3hrs_MP', dem3hrs_MP);
dem19hrs_MP | 55 | number | MP Demand at 19 Hrs in MW | ('dem19hrs_MP', 55, 'number', 'MP Demand at 19 Hrs in MW'), | fillFormField('dem19hrs_MP', dem19hrs_MP);
dem20hrs_MP | 55 | number | MP Demand at 20 Hrs in MW | ('dem20hrs_MP', 55, 'number', 'MP Demand at 20 Hrs in MW'), | fillFormField('dem20hrs_MP', dem20hrs_MP);
ls3hrs_MP | 55 | number | MP Load Shedding at 3 Hrs in MW | ('ls3hrs_MP', 55, 'number', 'MP Load Shedding at 3 Hrs in MW'), | fillFormField('ls3hrs_MP', ls3hrs_MP);
ls19hrs_MP | 55 | number | MP Load Shedding at 19 Hrs in MW | ('ls19hrs_MP', 55, 'number', 'MP Load Shedding at 19 Hrs in MW'), | fillFormField('ls19hrs_MP', ls19hrs_MP);
ls20hrs_MP | 55 | number | MP Load Shedding at 20 Hrs in MW | ('ls20hrs_MP', 55, 'number', 'MP Load Shedding at 20 Hrs in MW'), | fillFormField('ls20hrs_MP', ls20hrs_MP);
lsMaxDem_MP | 55 | number | MP Load Shedding at Max Demand in MW | ('lsMaxDem_MP', 55, 'number', 'MP Load Shedding at Max Demand in MW'), | fillFormField('lsMaxDem_MP', lsMaxDem_MP);
hydroGen_MSEB | 54 | number | Maharashtra Hydro Generation MU | ('hydroGen_MSEB', 54, 'number', 'Maharashtra Hydro Generation MU'), | fillFormField('hydroGen_MSEB', hydroGen_MSEB);
solarGen_MSEB | 54 | number | Maharashtra Solar Generation MU | ('solarGen_MSEB', 54, 'number', 'Maharashtra Solar Generation MU'), | fillFormField('solarGen_MSEB', solarGen_MSEB);
windGen_MSEB | 54 | number | Maharashtra Wind Generation MU | ('windGen_MSEB', 54, 'number', 'Maharashtra Wind Generation MU'), | fillFormField('windGen_MSEB', windGen_MSEB);
drawal_MSEB | 54 | number | Maharashtra Drawal MU | ('drawal_MSEB', 54, 'number', 'Maharashtra Drawal MU'), | fillFormField('drawal_MSEB', drawal_MSEB);
availability_MSEB | 54 | number | Maharashtra Availability MU | ('availability_MSEB', 54, 'number', 'Maharashtra Availability MU'), | fillFormField('availability_MSEB', availability_MSEB);
shortFallMUs_MSEB | 54 | number | Maharashtra Shortfall MU | ('shortFallMUs_MSEB', 54, 'number', 'Maharashtra Shortfall MU'), | fillFormField('shortFallMUs_MSEB', shortFallMUs_MSEB);
maxDemTime_MSEB | 54 | number | Maharashtra Max Demand Time in Hrs | ('maxDemTime_MSEB', 54, 'number', 'Maharashtra Max Demand Time in Hrs'), | fillFormField('maxDemTime_MSEB', maxDemTime_MSEB);
maxDem_MSEB | 54 | number | Maharashtra Max Demand in MW | ('maxDem_MSEB', 54, 'number', 'Maharashtra Max Demand in MW'), | fillFormField('maxDem_MSEB', maxDem_MSEB);
dem3hrs_MSEB | 54 | number | Maharashtra Demand at 3 Hrs in MW | ('dem3hrs_MSEB', 54, 'number', 'Maharashtra Demand at 3 Hrs in MW'), | fillFormField('dem3hrs_MSEB', dem3hrs_MSEB);
dem19hrs_MSEB | 54 | number | Maharashtra Demand at 19 Hrs in MW | ('dem19hrs_MSEB', 54, 'number', 'Maharashtra Demand at 19 Hrs in MW'), | fillFormField('dem19hrs_MSEB', dem19hrs_MSEB);
dem20hrs_MSEB | 54 | number | Maharashtra Demand at 20 Hrs in MW | ('dem20hrs_MSEB', 54, 'number', 'Maharashtra Demand at 20 Hrs in MW'), | fillFormField('dem20hrs_MSEB', dem20hrs_MSEB);
ls3hrs_MSEB | 54 | number | Maharashtra Load Shedding at 3 Hrs in MW | ('ls3hrs_MSEB', 54, 'number', 'Maharashtra Load Shedding at 3 Hrs in MW'), | fillFormField('ls3hrs_MSEB', ls3hrs_MSEB);
ls19hrs_MSEB | 54 | number | Maharashtra Load Shedding at 19 Hrs in MW | ('ls19hrs_MSEB', 54, 'number', 'Maharashtra Load Shedding at 19 Hrs in MW'), | fillFormField('ls19hrs_MSEB', ls19hrs_MSEB);
ls20hrs_MSEB | 54 | number | Maharashtra Load Shedding at 20 Hrs in MW | ('ls20hrs_MSEB', 54, 'number', 'Maharashtra Load Shedding at 20 Hrs in MW'), | fillFormField('ls20hrs_MSEB', ls20hrs_MSEB);
lsMaxDem_MSEB | 54 | number | Maharashtra Load Shedding at Max Demand in MW | ('lsMaxDem_MSEB', 54, 'number', 'Maharashtra Load Shedding at Max Demand in MW'), | fillFormField('lsMaxDem_MSEB', lsMaxDem_MSEB);

## IRE_KEYS
NAME | LINK | IMPMW | EXPMW | IMPMU | EXPMU | const | const_id | SQL_STRING | SQL_STRING | SQL_STRING | SQL_STRING
VHVDC | WR-NR | 350 |  | 8.569 |  | cpccv | 61 | 61, VHVDC_IMPMW, VHVDC_IMPMW, number | 61, VHVDC_EXPMW, VHVDC_EXPMW, number | 61, VHVDC_IMPMU, VHVDC_IMPMU, number | 61, VHVDC_EXPMU, VHVDC_EXPMU, number
B'WATI HVDC | WR-SR |  | -1000 |  | -21.87 | cpccv | 61 | 61, B'WATI HVDC_IMPMW, B'WATI HVDC_IMPMW, number | 61, B'WATI HVDC_EXPMW, B'WATI HVDC_EXPMW, number | 61, B'WATI HVDC_IMPMU, B'WATI HVDC_IMPMU, number | 61, B'WATI HVDC_EXPMU, B'WATI HVDC_EXPMU, number
765kV Solapur-Raichur# I | WR-SR |  | -844 |  | -16.0686 | cpccv | 61 | 61, 765kV Solapur-Raichur# I_IMPMW, 765kV Solapur-Raichur# I_IMPMW, number | 61, 765kV Solapur-Raichur# I_EXPMW, 765kV Solapur-Raichur# I_EXPMW, number | 61, 765kV Solapur-Raichur# I_IMPMU, 765kV Solapur-Raichur# I_IMPMU, number | 61, 765kV Solapur-Raichur# I_EXPMU, 765kV Solapur-Raichur# I_EXPMU, number
765kV Solapur-Raichur# II | WR-SR |  | -926 |  | -16.4755 | cpccv | 61 | 61, 765kV Solapur-Raichur# II_IMPMW, 765kV Solapur-Raichur# II_IMPMW, number | 61, 765kV Solapur-Raichur# II_EXPMW, 765kV Solapur-Raichur# II_EXPMW, number | 61, 765kV Solapur-Raichur# II_IMPMU, 765kV Solapur-Raichur# II_IMPMU, number | 61, 765kV Solapur-Raichur# II_EXPMU, 765kV Solapur-Raichur# II_EXPMU, number
400kV Narender-Kolhapur(GIS)-1 | WR-SR | 146.22 | -60.42 | 0 | -1.5 | cpccv | 61 | 61, 400kV Narender-Kolhapur(GIS)-1_IMPMW, 400kV Narender-Kolhapur(GIS)-1_IMPMW, number | 61, 400kV Narender-Kolhapur(GIS)-1_EXPMW, 400kV Narender-Kolhapur(GIS)-1_EXPMW, number | 61, 400kV Narender-Kolhapur(GIS)-1_IMPMU, 400kV Narender-Kolhapur(GIS)-1_IMPMU, number | 61, 400kV Narender-Kolhapur(GIS)-1_EXPMU, 400kV Narender-Kolhapur(GIS)-1_EXPMU, number
400kV Narender-Kolhapur(GIS)-2 | WR-SR | 146.82 | -64.42 | 0 | -1.5 | cpccv | 61 | 61, 400kV Narender-Kolhapur(GIS)-2_IMPMW, 400kV Narender-Kolhapur(GIS)-2_IMPMW, number | 61, 400kV Narender-Kolhapur(GIS)-2_EXPMW, 400kV Narender-Kolhapur(GIS)-2_EXPMW, number | 61, 400kV Narender-Kolhapur(GIS)-2_IMPMU, 400kV Narender-Kolhapur(GIS)-2_IMPMU, number | 61, 400kV Narender-Kolhapur(GIS)-2_EXPMU, 400kV Narender-Kolhapur(GIS)-2_EXPMU, number
R'kela # 1(Raigarh-Sundargarh#1 | WR-ER |  | -131 |  | -1.7845 | cpccv | 61 | 61, R'kela # 1(Raigarh-Sundargarh#1_IMPMW, R'kela # 1(Raigarh-Sundargarh#1_IMPMW, number | 61, R'kela # 1(Raigarh-Sundargarh#1_EXPMW, R'kela # 1(Raigarh-Sundargarh#1_EXPMW, number | 61, R'kela # 1(Raigarh-Sundargarh#1_IMPMU, R'kela # 1(Raigarh-Sundargarh#1_IMPMU, number | 61, R'kela # 1(Raigarh-Sundargarh#1_EXPMU, R'kela # 1(Raigarh-Sundargarh#1_EXPMU, number
R'kela # 1(Raigarh-Sundargarh#2 | WR-ER |  | -132 |  | -1.8107 | cpccv | 61 | 61, R'kela # 1(Raigarh-Sundargarh#2_IMPMW, R'kela # 1(Raigarh-Sundargarh#2_IMPMW, number | 61, R'kela # 1(Raigarh-Sundargarh#2_EXPMW, R'kela # 1(Raigarh-Sundargarh#2_EXPMW, number | 61, R'kela # 1(Raigarh-Sundargarh#2_IMPMU, R'kela # 1(Raigarh-Sundargarh#2_IMPMU, number | 61, R'kela # 1(Raigarh-Sundargarh#2_EXPMU, R'kela # 1(Raigarh-Sundargarh#2_EXPMU, number
Rourkela # 2 (SEL- 1) | WR-ER |  |  |  |  | cpccv | 61 | 61, Rourkela # 2 (SEL- 1)_IMPMW, Rourkela # 2 (SEL- 1)_IMPMW, number | 61, Rourkela # 2 (SEL- 1)_EXPMW, Rourkela # 2 (SEL- 1)_EXPMW, number | 61, Rourkela # 2 (SEL- 1)_IMPMU, Rourkela # 2 (SEL- 1)_IMPMU, number | 61, Rourkela # 2 (SEL- 1)_EXPMU, Rourkela # 2 (SEL- 1)_EXPMU, number
R'kela # 4 (SEL-2) | WR-ER | 169.29 |  | 0.15 | -1.03 | cpccv | 61 | 61, R'kela # 4 (SEL-2)_IMPMW, R'kela # 4 (SEL-2)_IMPMW, number | 61, R'kela # 4 (SEL-2)_EXPMW, R'kela # 4 (SEL-2)_EXPMW, number | 61, R'kela # 4 (SEL-2)_IMPMU, R'kela # 4 (SEL-2)_IMPMU, number | 61, R'kela # 4 (SEL-2)_EXPMU, R'kela # 4 (SEL-2)_EXPMU, number
Ranchi-Sipat #I&II | WR-ER |  | -452 |  | -7.403 | cpccv | 61 | 61, Ranchi-Sipat #I&II_IMPMW, Ranchi-Sipat #I&II_IMPMW, number | 61, Ranchi-Sipat #I&II_EXPMW, Ranchi-Sipat #I&II_EXPMW, number | 61, Ranchi-Sipat #I&II_IMPMU, Ranchi-Sipat #I&II_IMPMU, number | 61, Ranchi-Sipat #I&II_EXPMU, Ranchi-Sipat #I&II_EXPMU, number
765kv Ranchi-Dharamjaygarh # 1 | WR-ER | 70 | -265 |  | -3.605 | cpccv | 61 | 61, 765kv Ranchi-Dharamjaygarh # 1_IMPMW, 765kv Ranchi-Dharamjaygarh # 1_IMPMW, number | 61, 765kv Ranchi-Dharamjaygarh # 1_EXPMW, 765kv Ranchi-Dharamjaygarh # 1_EXPMW, number | 61, 765kv Ranchi-Dharamjaygarh # 1_IMPMU, 765kv Ranchi-Dharamjaygarh # 1_IMPMU, number | 61, 765kv Ranchi-Dharamjaygarh # 1_EXPMU, 765kv Ranchi-Dharamjaygarh # 1_EXPMU, number
765kv Ranchi-Dharamjaygarh # 2 | WR-ER | 59 | -234 |  | -3.201 | cpccv | 61 | 61, 765kv Ranchi-Dharamjaygarh # 2_IMPMW, 765kv Ranchi-Dharamjaygarh # 2_IMPMW, number | 61, 765kv Ranchi-Dharamjaygarh # 2_EXPMW, 765kv Ranchi-Dharamjaygarh # 2_EXPMW, number | 61, 765kv Ranchi-Dharamjaygarh # 2_IMPMU, 765kv Ranchi-Dharamjaygarh # 2_IMPMU, number | 61, 765kv Ranchi-Dharamjaygarh # 2_EXPMU, 765kv Ranchi-Dharamjaygarh # 2_EXPMU, number
765kv Dharamjaygarh- Jharsuguda # 1 | WR-ER | 10 | -221 |  | -1.663 | cpccv | 61 | 61, 765kv Dharamjaygarh- Jharsuguda # 1_IMPMW, 765kv Dharamjaygarh- Jharsuguda # 1_IMPMW, number | 61, 765kv Dharamjaygarh- Jharsuguda # 1_EXPMW, 765kv Dharamjaygarh- Jharsuguda # 1_EXPMW, number | 61, 765kv Dharamjaygarh- Jharsuguda # 1_IMPMU, 765kv Dharamjaygarh- Jharsuguda # 1_IMPMU, number | 61, 765kv Dharamjaygarh- Jharsuguda # 1_EXPMU, 765kv Dharamjaygarh- Jharsuguda # 1_EXPMU, number
765kv Dharamjaygarh- Jharsuguda # 2 | WR-ER | 15 | -309 |  | -4.148 | cpccv | 61 | 61, 765kv Dharamjaygarh- Jharsuguda # 2_IMPMW, 765kv Dharamjaygarh- Jharsuguda # 2_IMPMW, number | 61, 765kv Dharamjaygarh- Jharsuguda # 2_EXPMW, 765kv Dharamjaygarh- Jharsuguda # 2_EXPMW, number | 61, 765kv Dharamjaygarh- Jharsuguda # 2_IMPMU, 765kv Dharamjaygarh- Jharsuguda # 2_IMPMU, number | 61, 765kv Dharamjaygarh- Jharsuguda # 2_EXPMU, 765kv Dharamjaygarh- Jharsuguda # 2_EXPMU, number
765kV Agra- Gwalior #1&2 | WR-NR |  | -2580 |  | -52.631 | cpccv | 61 | 61, 765kV Agra- Gwalior #1&2_IMPMW, 765kV Agra- Gwalior #1&2_IMPMW, number | 61, 765kV Agra- Gwalior #1&2_EXPMW, 765kV Agra- Gwalior #1&2_EXPMW, number | 61, 765kV Agra- Gwalior #1&2_IMPMU, 765kV Agra- Gwalior #1&2_IMPMU, number | 61, 765kV Agra- Gwalior #1&2_EXPMU, 765kV Agra- Gwalior #1&2_EXPMU, number
400kV Zerda - Kankroli | WR-NR | 249 |  | 4.028 |  | cpccv | 61 | 61, 400kV Zerda - Kankroli_IMPMW, 400kV Zerda - Kankroli_IMPMW, number | 61, 400kV Zerda - Kankroli_EXPMW, 400kV Zerda - Kankroli_EXPMW, number | 61, 400kV Zerda - Kankroli_IMPMU, 400kV Zerda - Kankroli_IMPMU, number | 61, 400kV Zerda - Kankroli_EXPMU, 400kV Zerda - Kankroli_EXPMU, number
400kV Zerda - Bhinmal | WR-NR | 240 | -53 | 3.5611 |  | cpccv | 61 | 61, 400kV Zerda - Bhinmal_IMPMW, 400kV Zerda - Bhinmal_IMPMW, number | 61, 400kV Zerda - Bhinmal_EXPMW, 400kV Zerda - Bhinmal_EXPMW, number | 61, 400kV Zerda - Bhinmal_IMPMU, 400kV Zerda - Bhinmal_IMPMU, number | 61, 400kV Zerda - Bhinmal_EXPMU, 400kV Zerda - Bhinmal_EXPMU, number
Vindhyachal - Rihand | WR-NR |  |  |  |  | cpccv | 61 | 61, Vindhyachal - Rihand_IMPMW, Vindhyachal - Rihand_IMPMW, number | 61, Vindhyachal - Rihand_EXPMW, Vindhyachal - Rihand_EXPMW, number | 61, Vindhyachal - Rihand_IMPMU, Vindhyachal - Rihand_IMPMU, number | 61, Vindhyachal - Rihand_EXPMU, Vindhyachal - Rihand_EXPMU, number
765kV Gwalior-Jaipur #1&2 | WR-NR |  | -1500 |  | -29.439 | cpccv | 61 | 61, 765kV Gwalior-Jaipur #1&2_IMPMW, 765kV Gwalior-Jaipur #1&2_IMPMW, number | 61, 765kV Gwalior-Jaipur #1&2_EXPMW, 765kV Gwalior-Jaipur #1&2_EXPMW, number | 61, 765kV Gwalior-Jaipur #1&2_IMPMU, 765kV Gwalior-Jaipur #1&2_IMPMU, number | 61, 765kV Gwalior-Jaipur #1&2_EXPMU, 765kV Gwalior-Jaipur #1&2_EXPMU, number
400kV RAPP - Shujalpur # 1 | WR-NR |  | -165 |  | -1.43 | cpccv | 61 | 61, 400kV RAPP - Shujalpur # 1_IMPMW, 400kV RAPP - Shujalpur # 1_IMPMW, number | 61, 400kV RAPP - Shujalpur # 1_EXPMW, 400kV RAPP - Shujalpur # 1_EXPMW, number | 61, 400kV RAPP - Shujalpur # 1_IMPMU, 400kV RAPP - Shujalpur # 1_IMPMU, number | 61, 400kV RAPP - Shujalpur # 1_EXPMU, 400kV RAPP - Shujalpur # 1_EXPMU, number
400kV RAPP - Shujalpur # 2 | WR-NR |  | -164 |  | -1.43 | cpccv | 61 | 61, 400kV RAPP - Shujalpur # 2_IMPMW, 400kV RAPP - Shujalpur # 2_IMPMW, number | 61, 400kV RAPP - Shujalpur # 2_EXPMW, 400kV RAPP - Shujalpur # 2_EXPMW, number | 61, 400kV RAPP - Shujalpur # 2_IMPMU, 400kV RAPP - Shujalpur # 2_IMPMU, number | 61, 400kV RAPP - Shujalpur # 2_EXPMU, 400kV RAPP - Shujalpur # 2_EXPMU, number
Champa-Kurukshetra Bipole | WR-NR |  | -1000 |  | -23.955 | cpccv | 61 | 61, Champa-Kurukshetra Bipole_IMPMW, Champa-Kurukshetra Bipole_IMPMW, number | 61, Champa-Kurukshetra Bipole_EXPMW, Champa-Kurukshetra Bipole_EXPMW, number | 61, Champa-Kurukshetra Bipole_IMPMU, Champa-Kurukshetra Bipole_IMPMU, number | 61, Champa-Kurukshetra Bipole_EXPMU, Champa-Kurukshetra Bipole_EXPMU, number
765kV Wardha-Nizamabad-1 | WR-SR |  | -494 |  | -9.591 | cpccv | 61 | 61, 765kV Wardha-Nizamabad-1_IMPMW, 765kV Wardha-Nizamabad-1_IMPMW, number | 61, 765kV Wardha-Nizamabad-1_EXPMW, 765kV Wardha-Nizamabad-1_EXPMW, number | 61, 765kV Wardha-Nizamabad-1_IMPMU, 765kV Wardha-Nizamabad-1_IMPMU, number | 61, 765kV Wardha-Nizamabad-1_EXPMU, 765kV Wardha-Nizamabad-1_EXPMU, number
765kV Wardha-Nizamabad-2 | WR-SR |  | -502 |  | -9.866 | cpccv | 61 | 61, 765kV Wardha-Nizamabad-2_IMPMW, 765kV Wardha-Nizamabad-2_IMPMW, number | 61, 765kV Wardha-Nizamabad-2_EXPMW, 765kV Wardha-Nizamabad-2_EXPMW, number | 61, 765kV Wardha-Nizamabad-2_IMPMU, 765kV Wardha-Nizamabad-2_IMPMU, number | 61, 765kV Wardha-Nizamabad-2_EXPMU, 765kV Wardha-Nizamabad-2_EXPMU, number
RAIGRH-BUDHIPADR | WR-ER | 1440:00 | 0 | 0.852 | -0.0035 | cseb | 53 | 53, RAIGRH-BUDHIPADR_IMPMW, RAIGRH-BUDHIPADR_IMPMW, number | 53, RAIGRH-BUDHIPADR_EXPMW, RAIGRH-BUDHIPADR_EXPMW, number | 53, RAIGRH-BUDHIPADR_IMPMU, RAIGRH-BUDHIPADR_IMPMU, number | 53, RAIGRH-BUDHIPADR_EXPMU, RAIGRH-BUDHIPADR_EXPMU, number
BUDHIPADR-KORBA | WR-ER | 0:00 | -80 | 0 | -2.042 | cseb | 53 | 53, BUDHIPADR-KORBA_IMPMW, BUDHIPADR-KORBA_IMPMW, number | 53, BUDHIPADR-KORBA_EXPMW, BUDHIPADR-KORBA_EXPMW, number | 53, BUDHIPADR-KORBA_IMPMU, BUDHIPADR-KORBA_IMPMU, number | 53, BUDHIPADR-KORBA_EXPMU, BUDHIPADR-KORBA_EXPMU, number
BADOD-SAKATPUR | WR-NR | 20 | -33 | 0.125 | -0.186 | mpseb | 55 | 55, BADOD-SAKATPUR_IMPMW, BADOD-SAKATPUR_IMPMW, number | 55, BADOD-SAKATPUR_EXPMW, BADOD-SAKATPUR_EXPMW, number | 55, BADOD-SAKATPUR_IMPMU, BADOD-SAKATPUR_IMPMU, number | 55, BADOD-SAKATPUR_EXPMU, BADOD-SAKATPUR_EXPMU, number
BHANPURA-MODAK | WR-NR | 0 | -73 | 0 | -1.025 | mpseb | 55 | 55, BHANPURA-MODAK_IMPMW, BHANPURA-MODAK_IMPMW, number | 55, BHANPURA-MODAK_EXPMW, BHANPURA-MODAK_EXPMW, number | 55, BHANPURA-MODAK_IMPMU, BHANPURA-MODAK_IMPMU, number | 55, BHANPURA-MODAK_EXPMU, BHANPURA-MODAK_EXPMU, number
MEHGAON-AURAIYA | WR-NR | 43 | -7 | 0.592 | -0.008 | mpseb | 55 | 55, MEHGAON-AURAIYA_IMPMW, MEHGAON-AURAIYA_IMPMW, number | 55, MEHGAON-AURAIYA_EXPMW, MEHGAON-AURAIYA_EXPMW, number | 55, MEHGAON-AURAIYA_IMPMU, MEHGAON-AURAIYA_IMPMU, number | 55, MEHGAON-AURAIYA_EXPMU, MEHGAON-AURAIYA_EXPMU, number
MALANPUR-AURAIYA | WR-NR | 18 | -24 | 0.06 | -0.164 | mpseb | 55 | 55, MALANPUR-AURAIYA_IMPMW, MALANPUR-AURAIYA_IMPMW, number | 55, MALANPUR-AURAIYA_EXPMW, MALANPUR-AURAIYA_EXPMW, number | 55, MALANPUR-AURAIYA_IMPMU, MALANPUR-AURAIYA_IMPMU, number | 55, MALANPUR-AURAIYA_EXPMU, MALANPUR-AURAIYA_EXPMU, number
KOLHAPUR-CHIKODI | WR-SR | 0 | -284 | 0 | -5.46 | mseb | 54 | 54, KOLHAPUR-CHIKODI_IMPMW, KOLHAPUR-CHIKODI_IMPMW, number | 54, KOLHAPUR-CHIKODI_EXPMW, KOLHAPUR-CHIKODI_EXPMW, number | 54, KOLHAPUR-CHIKODI_IMPMU, KOLHAPUR-CHIKODI_IMPMU, number | 54, KOLHAPUR-CHIKODI_EXPMU, KOLHAPUR-CHIKODI_EXPMU, number
XELDEM-AMBEWADI | WR-SR | 85 | 0 | 1.84 | 0 | goa | 59 | 59, XELDEM-AMBEWADI_IMPMW, XELDEM-AMBEWADI_IMPMW, number | 59, XELDEM-AMBEWADI_EXPMW, XELDEM-AMBEWADI_EXPMW, number | 59, XELDEM-AMBEWADI_IMPMU, XELDEM-AMBEWADI_IMPMU, number | 59, XELDEM-AMBEWADI_EXPMU, XELDEM-AMBEWADI_EXPMU, number
APL HVDC | WR-NR |  | -1813.9 |  | -39 | geb | 56 | 56, APL HVDC_IMPMW, APL HVDC_IMPMW, number | 56, APL HVDC_EXPMW, APL HVDC_EXPMW, number | 56, APL HVDC_IMPMU, APL HVDC_IMPMU, number | 56, APL HVDC_EXPMU, APL HVDC_EXPMU, number

## CONSTDATA
dem19hrs_GEB | "" | "" | dem19hrs_MSEB | "" | "" | "" | "" | dem19hrs_GEB, "", "", dem19hrs_MSEB, "", "", "", "" | WriteLineConsole([dem19hrs_GEB, "", "", dem19hrs_MSEB, "", "", "", ""].join('\t'));
dem19hrs_GEB | dem19hrs_MP | dem19hrs_CSEB | dem19hrs_MSEB - loadShedding24hrs_MSEB[peakHrIndex] | dem19hrs_GOA | dem19hrs_DD | dem19hrs_DNH | dem19hrs_ESIL | dem19hrs_GEB, dem19hrs_MP, dem19hrs_CSEB, dem19hrs_MSEB - loadShedding24hrs_MSEB[peakHrIndex], dem19hrs_GOA, dem19hrs_DD, dem19hrs_DNH, dem19hrs_ESIL | WriteLineConsole([dem19hrs_GEB, dem19hrs_MP, dem19hrs_CSEB, dem19hrs_MSEB - loadShedding24hrs_MSEB[peakHrIndex], dem19hrs_GOA, dem19hrs_DD, dem19hrs_DNH, dem19hrs_ESIL].join('\t'));
0 | loadShedding24hrs_MP[peakHrIndex] | loadShedding24hrs_CSEB[peakHrIndex] | loadShedding24hrs_MSEB[peakHrIndex] | loadShedding24hrs_GOA[peakHrIndex] | 0 | 0 | 0 | 0, loadShedding24hrs_MP[peakHrIndex], loadShedding24hrs_CSEB[peakHrIndex], loadShedding24hrs_MSEB[peakHrIndex], loadShedding24hrs_GOA[peakHrIndex], 0, 0, 0 | WriteLineConsole([0, loadShedding24hrs_MP[peakHrIndex], loadShedding24hrs_CSEB[peakHrIndex], loadShedding24hrs_MSEB[peakHrIndex], loadShedding24hrs_GOA[peakHrIndex], 0, 0, 0].join('\t'));
"" | "" | "" | "" | stateGen_GOA | "" | "" | "" | "", "", "", "", stateGen_GOA, "", "", "" | WriteLineConsole(["", "", "", "", stateGen_GOA, "", "", ""].join('\t'));
drawal_GEB | drawal_MP | drawal_CSEB | drawal_MSEB | drawal_GOA | drawal_DD | drawal_DNH | drawal_ESIL | drawal_GEB, drawal_MP, drawal_CSEB, drawal_MSEB, drawal_GOA, drawal_DD, drawal_DNH, drawal_ESIL | WriteLineConsole([drawal_GEB, drawal_MP, drawal_CSEB, drawal_MSEB, drawal_GOA, drawal_DD, drawal_DNH, drawal_ESIL].join('\t'));
requirement_GEB | "" | "" | "" | "" | "" | drawal_DNH | "" | requirement_GEB, "", "", "", "", "", drawal_DNH, "" | WriteLineConsole([requirement_GEB, "", "", "", "", "", drawal_DNH, ""].join('\t'));
availability_GEB | availability_MP | availability_CSEB | availability_MSEB | "" | "" | drawal_DNH | 0 | availability_GEB, availability_MP, availability_CSEB, availability_MSEB, "", "", drawal_DNH, 0 | WriteLineConsole([availability_GEB, availability_MP, availability_CSEB, availability_MSEB, "", "", drawal_DNH, 0].join('\t'));
requirement_GEB - availability_GEB | shortFallMUs_MP | shortFallMUs_CSEB | shortFallMUs_MSEB | shortFallMUs_GOA | "" | "" | "" | requirement_GEB - availability_GEB, shortFallMUs_MP, shortFallMUs_CSEB, shortFallMUs_MSEB, shortFallMUs_GOA, "", "", "" | WriteLineConsole([requirement_GEB - availability_GEB, shortFallMUs_MP, shortFallMUs_CSEB, shortFallMUs_MSEB, shortFallMUs_GOA, "", "", ""].join('\t'));
solarGen_GEB | solarGen_MP | solarGen_CSEB | solarGen_MSEB | "" | "" | "" | "" | solarGen_GEB, solarGen_MP, solarGen_CSEB, solarGen_MSEB, "", "", "", "" | WriteLineConsole([solarGen_GEB, solarGen_MP, solarGen_CSEB, solarGen_MSEB, "", "", "", ""].join('\t'));
hydroGen_GEB | hydroGen_MP + hydroGen1_MP + hydroGen2_MP | hydroGen_CSEB | hydroGen_MSEB | "" | "" | "" | "" | hydroGen_GEB, hydroGen_MP + hydroGen1_MP + hydroGen2_MP, hydroGen_CSEB, hydroGen_MSEB, "", "", "", "" | WriteLineConsole([hydroGen_GEB, hydroGen_MP + hydroGen1_MP + hydroGen2_MP, hydroGen_CSEB, hydroGen_MSEB, "", "", "", ""].join('\t'));
windGen_GEB | windGen_MP | "" | windGen_MSEB | "" | "" | "" | "" | windGen_GEB, windGen_MP, "", windGen_MSEB, "", "", "", "" | WriteLineConsole([windGen_GEB, windGen_MP, "", windGen_MSEB, "", "", "", ""].join('\t'));
maxDem_GEB | maxDem_MP | maxDem_CSEB | maxDem_MSEB - loadShedding24hrs_MSEB[maxDemTime_MSEB] | maxDem_GOA | maxDem_DD | maxDem_DNH | maxDem_ESIL | maxDem_GEB, maxDem_MP, maxDem_CSEB, maxDem_MSEB - loadShedding24hrs_MSEB[maxDemTime_MSEB], maxDem_GOA, maxDem_DD, maxDem_DNH, maxDem_ESIL | WriteLineConsole([maxDem_GEB, maxDem_MP, maxDem_CSEB, maxDem_MSEB - loadShedding24hrs_MSEB[maxDemTime_MSEB], maxDem_GOA, maxDem_DD, maxDem_DNH, maxDem_ESIL].join('\t'));
0 | loadShedding24hrs_MP[maxDemTime_MP - 1] | loadShedding24hrs_CSEB[maxDemTime_CSEB - 1] | loadShedding24hrs_MSEB[maxDemTime_MSEB - 1] | loadShedding24hrs_GOA[maxDemTime_GOA - 1] | 0 | 0 | 0 | 0, loadShedding24hrs_MP[maxDemTime_MP - 1], loadShedding24hrs_CSEB[maxDemTime_CSEB - 1], loadShedding24hrs_MSEB[maxDemTime_MSEB - 1], loadShedding24hrs_GOA[maxDemTime_GOA - 1], 0, 0, 0 | WriteLineConsole([0, loadShedding24hrs_MP[maxDemTime_MP - 1], loadShedding24hrs_CSEB[maxDemTime_CSEB - 1], loadShedding24hrs_MSEB[maxDemTime_MSEB - 1], loadShedding24hrs_GOA[maxDemTime_GOA - 1], 0, 0, 0].join('\t'));
maxDemTime_GEB | maxDemTime_MP | maxDemTime_CSEB | maxDemTime_MSEB | maxDemTime_GOA | maxDemTime_DD | maxDemTime_DNH | maxDemTime_ESIL | maxDemTime_GEB, maxDemTime_MP, maxDemTime_CSEB, maxDemTime_MSEB, maxDemTime_GOA, maxDemTime_DD, maxDemTime_DNH, maxDemTime_ESIL | WriteLineConsole([maxDemTime_GEB, maxDemTime_MP, maxDemTime_CSEB, maxDemTime_MSEB, maxDemTime_GOA, maxDemTime_DD, maxDemTime_DNH, maxDemTime_ESIL].join('\t'));
dem3hrs_GEB | dem3hrs_MP | dem3hrs_CSEB | dem3hrs_MSEB - loadShedding24hrs_MSEB[2] | dem3hrs_GOA | dem3hrs_DD | dem3hrs_DNH | dem3hrs_ESIL | dem3hrs_GEB, dem3hrs_MP, dem3hrs_CSEB, dem3hrs_MSEB - loadShedding24hrs_MSEB[2], dem3hrs_GOA, dem3hrs_DD, dem3hrs_DNH, dem3hrs_ESIL | WriteLineConsole([dem3hrs_GEB, dem3hrs_MP, dem3hrs_CSEB, dem3hrs_MSEB - loadShedding24hrs_MSEB[2], dem3hrs_GOA, dem3hrs_DD, dem3hrs_DNH, dem3hrs_ESIL].join('\t'));
0 | loadShedding24hrs_MP[2] | loadShedding24hrs_CSEB[2] | loadShedding24hrs_MSEB[2] | loadShedding24hrs_GOA[2] | 0 | 0 | 0 | 0, loadShedding24hrs_MP[2], loadShedding24hrs_CSEB[2], loadShedding24hrs_MSEB[2], loadShedding24hrs_GOA[2], 0, 0, 0 | WriteLineConsole([0, loadShedding24hrs_MP[2], loadShedding24hrs_CSEB[2], loadShedding24hrs_MSEB[2], loadShedding24hrs_GOA[2], 0, 0, 0].join('\t'));
dem19hrs_GEB |  |  | dem19hrs_MSEB
dem19hrs_GEB | dem19hrs_MP | dem19hrs_CSEB | dem19hrs_MSEB - ls19hrs_MSEB | dem19hrs_GOA | dem19hrs_DD | dem19hrs_DNH | dem19hrs_ESIL
| ls19hrs_MP | ls19hrs_CSEB | ls19hrs_MSEB | ls19hrs_GOA
stateGen_GOA
drawal_GEB | drawal_MP | drawal_CSEB | drawal_MSEB | drawal_GOA | drawal_DD | drawal_DNH | drawal_ESIL
requirement_GEB | [5 empty] | drawal_DNH
availability_GEB | availability_MP | availability_CSEB | availability_MSEB |  |  | drawal_DNH
requirement_GEB - availability_GEB | shortFallMUs_MP | shortFallMUs_CSEB | shortFallMUs_MSEB | shortFallMUs_GOA
solarGen_GEB | solarGen_MP | solarGen_CSEB | solarGen_MSEB
hydroGen_GEB | hydroGen_MP + hydroGen1_MP + hydroGen2_MP | hydroGen_CSEB | hydroGen_MSEB
windGen_GEB | windGen_MP |  | windGen_MSEB
maxDem_GEB | maxDem_MP | maxDem_CSEB | maxDem_MSEB - loadShedding24hrs_MSEB[maxDemTime_MSEB] | maxDem_GOA | maxDem_DD | maxDem_DNH | maxDem_ESIL
| lsMaxDem_MP | lsMaxDem_CSEB | lsMaxDem_MSEB | lsMaxDem_GOA
maxDemTime_GEB | maxDemTime_MP | maxDemTime_CSEB | maxDemTime_MSEB | maxDemTime_GOA | maxDemTime_DD | maxDemTime_DNH | maxDemTime_ESIL
dem3hrs_GEB | dem3hrs_MP | dem3hrs_CSEB | dem3hrs_MSEB - loadShedding24hrs_MSEB[2] | dem3hrs_GOA | dem3hrs_DD | dem3hrs_DNH | dem3hrs_ESIL
| ls3hrs_MP | ls3hrs_CSEB | ls3hrs_MSEB | ls3hrs_GOA